## Slide 3
Reference: Khan, Z. A., et al. (2020). "Electricity Theft Detection Using Supervised Learning Techniques on Smart Meter Data". Sustainability, 12(19), 8023.

## Slide 6
03
SOLUTION ARCHITECTURE
Centralized Data Warehouse & ETL Pipeline
CURRENT STATE — DATA SILOS
LDC Supply Data
Billing Records
Weather Data
▼ E T L P I P E L I N E — Extract · Transform · Load
CENTRALIZED DATA WAREHOUSE (disco_analysis)
consumption
households
weather
▼
ANALYTICS ENGINE → SQL · Weka · Power BI

## Slide 7
04
METHODOLOGY
K-Means Clustering Approach
01
Unsupervised ML
No labels required — model autonomously discovers load behavioral groups from raw consumption data
02
K-Means Clustering (k=3)
Iterative centroid-convergence algorithm segments households into Low / Medium / High-Risk profiles
03
Feature Engineering
Input features: hour, area_group, tariff_type, weather (temp, humidity), day-of-week
CLUSTER OUTPUT — Consumption Profiles
Chart: Avg kWh / Day
| Low Load (Cluster 1) | Medium Load (Cluster 2) | High-Risk Peak (Cluster 3)
Avg kWh/day | 4.2 | 10.8 | 22.5
Reference: Sarmas, E., Fragkiadaki, A., & Marinakis, V. (2024). "Explainable AI-Based Ensemble Clustering for Load Profiling and Demand Response". Energies, 17(22), 5559

## Slide 8
05
KEY FINDINGS
Data Insights & Grid Stress Patterns
+40%
Load spike when
temp > 30°C
8 PM
Residential peak
(Nazimabad zone)
9–5
Commercial zone
peak window
HOURLY LOAD — Commercial vs Residential
Chart: 
| 6AM | 9AM | 12PM | 3PM | 6PM | 8PM | 10PM | 12AM
Commercial Zone | 30 | 88 | 95 | 90 | 72 | 30 | 18 | 10
Residential (Nazimabad) | 28 | 35 | 42 | 38 | 55 | 95 | 80 | 40
TEMPERATURE-INDUCED LOAD SURGE
Chart: Load Index
| ≤20°C | 20–25°C | 25–30°C | 30–35°C | 35°C+
Load Index (normalized) | 45 | 58 | 72 | 88 | 100
⚠ Overlapping peaks (8 PM Commercial + Residential) cause Phase Imbalance & PMT Overloads — highest grid stress window

## Slide 9
06
RESOLUTION & BUSINESS VALUE
Data-Driven Solutions for DISCOs
OPERATIONAL
Predictive Load Balancing
Transformer-level scheduling instead of city-wide outages.
Target high-risk clusters before peak onset.
FINANCIAL
Revenue Protection
Cluster anomaly detection flags billing-consumption mismatches.
Enables targeted physical inspections — not random audits.
STRATEGIC
Smart Grid Integration
Time-of-Use (ToU) tariff framework based on cluster profiles.
SCADA + AMI integration roadmap for real-time grid visibility.
Outcome: From reactive crisis management → Proactive, data-driven grid governance